INFORMATION TECHNOLOGY

DISASTER RECOVERY

# PREPAREDNESS CHECK LIST

FOR K-12 ORGANIZATIONS

THE CALIFORNIA COUNTY SUPERINTENDENTS EDUCATIONAL SERVICES ASSOCIATION (CCSESA)

TECHNOLOGY STEERING COMMITTEE (TSC)

Version 2021.11.10

This work is licensed under a Creative Commons Attribution-NonCommercial-NoDerivatives 4.0 International License (2018).

## Introduction

This document was developed by the Technology Steering Committee (TSC) of the California County Superintendents Educational Services Association (CCSESA). The information in this checklist is intended to assist California K-12 educational agencies in creating and implementing a technology disaster recovery plan.

This checklist is meant to help determine how prepared your agency is for a local or regional disaster. It should be completed before filling out the Disaster Recovery Plan Template, as many of these items will be required to create a fully functional disaster recovery site and disaster recovery plan for your agency.

## Completing the Checklist

This checklist should be considered a “living document” that will help strengthen your organization's ability to prepare for, and recover from, a large or small scale disaster. It's important to review and update this document regularly. Follow the instructions at the end of this document entitled Checking Off Items In This Google Doc as you evaluate your disaster readiness using this checklist. Be sure to print this list out and store it with your disaster recovery plan for future reference.

#### Checklist Update History

| Date Updated | Notes |
| --- | --- |

## Disclaimer The Technology Steering Committee (TSC) has provided this document solely as a resource to assist your agency with creating its own Disaster Recovery Plan. This document, and any other related disaster recovery plan resources produced by the TSC (including guidelines, templates, checklists, and recommendations), are provided “as is,” with no express or implied warranty of any kind. These resources may only be used at your own risk. Always seek independent verification of your disaster recovery plan and supplemental resources from a third party that has expertise in this area.

# EXECUTIVE SUMMARY

This checklist is designed to be completed by one person or distributed, by section, to other members of a technology team. When making section assignments, use the list below to record when each section was reviewed and by whom. Checklist results should be reviewed by the Department Director or Disaster Recovery Lead.

|  | ### Name of Reviewer | ### Date Reviewed |
| --- | --- | --- |
| - Facilities (UPS, generator, power, etc.) |  |  |
| - Server Infrastructure |  |  |
| - Network Infrastructure |  |  |
| - Email |  |  |
| - Data Protection |  |  |
| - Telecommunications |  |  |
| - DR Site Location / Supplies |  |  |
| - DR Site Equipment |  |  |
| - DR Plan Creation |  |  |
| - DR Plan Implementation |  |  |

DR Preparedness Checklist results reviewed by:

| Name: |  |
| --- | --- |
| Title: |  |
| Date: |  |
| Facility or Location Name: |  |

# UPS & GENERATOR

## Uninterruptible Power Supply (UPS)

- You have an Uninterruptible Power Supply (UPS) for your data center

- UPS batteries and capacitors are on a recommended replacement plan (usually 4-5 years for batteries / 10 years for capacitors; consult vendor)

- UPS serviced regularly (recommended: twice a year)

- UPS runtime is long enough for a complete data center graceful shutdown

  - If the UPS is powered by a generator, it has enough runtime to handle the full load until the generator is able to supply power to the UPS (graceful shutdown unneeded)

  - If UPS is NOT powered by a generator, there is an automated system that shuts down the servers gracefully in the event of an outage during off hours

|  | Available runtime based on current power usage: |  | minutes |
| --- | --- | --- | --- |

- Available runtime re-checked every 6 months

|  | Maximum UPS power output (load): |  | kVA (kilo-volt-ampere) |
| --- | --- | --- | --- |

|  | Current power load of data center: |  | kVA (kilo-volt-ampere) |
| --- | --- | --- | --- |

- UPS is properly sized to accommodate for future data center power needs (growth)

- Ensure optimal UPS runtime is available to perform a graceful shutdown of critical services

- Perform an electrical power configuration review after any major change to the data center (example: significant hardware installation or equipment move)

## Generator & Auto Transfer Switch (ATS)

  - You have a generator with an Automatic Transfer Switch (ATS) that powers the UPS in the event of a power outage

|  | Maximum generator power output: |  | kilowatts (kW) |
| --- | --- | --- | --- |

- Maximum generator power output is greater than maximum UPS power load (generator is properly sized to fully support the maximum data center power load)

- UPS runtime with full load is longer than generator startup time

- Generator fully powers CRAC (Computer Room Air Conditioning) units during a power outage so data center remains cool

# GENERATOR (CNTD.) & EMERGENCY POWER

- Keys to the generator and generator enclosure are kept in a designated location and/or are readily available to authorized staff

  - Generator is tested regularly (recommended: weekly, check air regulations)

  - Generator is maintained regularly (recommended: every 3-6 months)

  - ATS is tested when generator maintenance is performed (or every 3-6 months)

  - Staff checks for adequate fuel on a regular basis (recommended: monthly, and after each power outage)

  - Generator maintenance information (maintenance frequency, testing frequency, refueling schedule, alert parameters/settings, etc.):

- Keep UPS maintenance document in generator information binder. Include runtime data for the UPS and generator, fuel tank capacity, how often it needs to be refueled, etc., and include a copy of the refueling contract.

- Maintain service contract for repairs and testing

- Maintain service contract for refueling

## Emergency Power

  - Designate a secure room/area where emergency power can be provided to authorized personnel from the generator to conduct critical business operations in the event of an extended power outage (check printing, other operations, etc.)

  - Have spare extension cords available that can be run from the server room UPS to power critical equipment (workstations/laptops, printers, etc.)

  - Designate emergency network ports for equipment

  - Have one or more portable generators available to provide emergency power in case generator fails or cannot provide power outside the data center

  - Contact your local city or county Public Works’ department to see if they can assist in the event of a disaster (additional generators, fuel, etc.)

# COOLING, POWER & ENVIRONMENTAL MONITORING

## Cooling

  - The data center is adequately cooled (under 72 degrees)

  - AC systems maintain ambient relative humidity levels between 40%-60%

  - There are redundant AC units; if one unit fails the room will remain cool

  - There is a portable cooling system available if your AC is not redundant

  - AC systems functions in the event of a power failure (generator powered)

  - Optimal: ability to turn on exhaust fans and/or turn off power strips remotely/automatically if the room reaches a critical temperature

## Power

- There is adequate power/amperage for the equipment in the room (each circuit has adequate amperage for all equipment plugged into it)

- There are enough available electrical outlets for equipment

- There are spare power distribution units (PDUs) readily available

- Equipment is using 220 volt circuits whenever possible (more efficient)

- Emergency Lighting is available in data center in case of a power outage

- If running 3 phase power, review and check power phases with a certified electrician to confirm the phases are properly load balanced.  An unbalanced load can cause issues for a generator supplying power to the data center.

## Environmental Monitoring and Alerting

- Data center temperature and humidity are monitored

- CRAC (AC) systems are monitored

- Power status is monitored

- Generator and ATS status is monitored

- UPS status is monitored

- Fire suppression system is monitored and alerted

- If wet/dry system, ensure alerts are triggered when water is loaded into system

- Use additional sensors to monitor room temperature and power status independent of data center systems (“WatchDogs”, “Netbots,” etc.)

# SERVER INFRASTRUCTURE

## Equipment

  - All servers have redundant power supplies

  - Redundant power supplies are plugged into separate electrical circuits

  - Server equipment is covered by current support contracts at a level sufficient to continue business operations if equipment fails

  - Storage Area Network (SAN) and other critical storage equipment is covered by a 4-hour or less support contract (read the fine print)

  - Spare hard drives, flash drives, keyboards, mice and monitors are readily available in the event of minor equipment failure

  - Work out a process with your fiscal services department to purchase equipment or services without a purchase order in the event of a disaster or critical emergency

## Virtual Server Infrastructure

  - There are enough physical servers total to support all virtual servers in the event of a single physical server failure (recommended: enough servers available to withstand 2 physical server failures)

  - Documentation is maintained detailing how to access and manage the virtual server infrastructure, including which host(s) or cluster the vSphere or Hyper-V management console resides on

  - Maintain one or more physical servers outside the virtual infrastructure to provide domain controller, DNS and DHCP services; allows continued network use for staff if virtual server infrastructure is down

## DNS / DHCP

  - Locate a DNS server outside your network so email will continue to flow to Gmail or Office 365 in the event of a major network failure (ie, MX records need to still be available to external mail systems)

  - Document your domains’ Domain Name Authority login information (for Network Solutions, GoDaddy, etc.) in the event of a data center loss so NS records can be changed to different servers (recommended: quarterly)

  - Have redundant DHCP servers

  - Log/save DHCP assignments in the event of a cybersecurity incident or investigation into suspicious computer activity

# SERVER INFRASTRUCTURE (CONTD.)

## Server Infrastructure Inventory List

- A list of all servers, storage devices, and any other critical server-related hardware located in your data center is maintained. Include make, model, serial number and description/purpose (recommended update: quarterly)

  - Important software license information is included in the list (Vmware, Hyper-V, Microsoft, Adobe, VOIP, SIS, other unique service licenses)

# NETWORK INFRASTRUCTURE

## Network Redundancy

  - Network equipment has redundant power supplies

  - Redundant power supplies are connected to separate power circuits

  - Additional modules and optics are available in the event of a failure

  - “Cold spare” switches are on hand in the event of a switch failure

  - Optimal: redundant network connections using disparate fiber paths to one or more ISPs in the event the primary Internet circuit goes down

  - Optimal: redundant switches used in active/active mode for core routing

## Network Equipment Inventory List

- A list of all network equipment located in your data center is maintained. Include make, model, serial number and description/purpose.

# EMAIL

## Email Hosting

#### If agency Email is hosted in a cloud-based service (Google, Office 365, etc.):

- At least one DNS server is hosted outside your network

- You don’t have on-premise dependencies that could prevent email from flowing to the provider (spam filter, antivirus, data loss prevention, etc.)

- Email is properly backed up by following Data Protection section below

- Ensure “Admin accounts” are not tied to your local Active Directory or single sign on infrastructure (should be native provider system accounts)

- Not Applicable

#### If agency Email is hosted on a server in your data center:

- Create a list of system dependencies if you are using other on-premise or off-premise systems for spam prevention, antivirus, data loss, etc. A failure in any of these systems could result in a failure to receive email.

- Email is properly backed up by following Data Protection section below

- Not Applicable

#### If agency Email is in a “hybrid” configuration (some email components are hosted on site, others on Gmail or Office 365):

- Create a list of system dependencies for spam prevention, antivirus, data loss, etc. A failure in any of these systems could result in a failure to receive email.

- Create a plan to move as many of these systems to “the cloud” as soon as possible to increase system resilience

- At least one DNS server is hosted outside your network

- Email is properly backed up by following Data Protection section below

- Not Applicable

# DATA PROTECTION

## Backup System(s)

(enter detailed info into DR Template)

  - All servers, data, and email are backed up regularly

  - Data is backed up to an offsite disaster recovery location (County Office of Education, District or other location)

  - Backup data is copied to Cloud-based storage as a third-tier level of backup (AWS Glacier Storage, Azure Archive Storage, etc); access information is documented and readily available to staff

## Backup of Cloud Data

|  | All Gmail, Office 365 or other cloud-based email messages are backed up daily; individual emails or mailboxes can be easily restored. Name of backup system(s): |
| --- | --- |

- Other critical data hosted by “cloud providers” (student information system, document archiving, etc.) is backed up by a third party, whether by your own system or a separate company.

# TELECOMMUNICATIONS

## VOIP

- VOIP servers / services are redundant (if possible)

- SIP/PRI trunks are placed at diverse locations to survive circuit/site failure

- Spare handsets are kept on hand

- Backup phone lines and 911 capability are checked regularly (quarterly)

## Non-VOIP Phone Systems

  - Ensure telco contact information is readily available for emergency repairs

  - Maintain documentation of where physical lines, termination points, MDFs and IDFs are located for each site

  - Keep spare phones on hand

# DISASTER RECOVERY SITE

## Disaster Recovery Site Location

- Disaster Recovery Site is located geographically far enough away from primary site as to not to be subject to the same type of major disaster

- Both sites are not located on the same fault line (earthquake)

- Both sites are not affected by the same electrical grid (power)

- Both sites will not be flooded by the same dam or levee failure (flood)

- Both sites will not be burned down by the same wildfire (fire)

## DR Site Supplies

- Hard copy list of IPs, passwords, resource locations

- Hard copy of Disaster Recovery Plan and vendor contacts

- Spare computers and Network Equipment

- Cabling and optics

- Flashlights, batteries (battery expiration checked regularly)

- Pens, paper, notebooks

- MiFi (portable Internet access), portable television/radio, hand held radios

- Tools (screwdrivers, drills, diagonal cutters, etc)

- Solar charger kit

- Hygienic supplies (hand sanitizer, disinfectant wipes, garbage bags)

- Other supplies needed by your agency or staff

## DR Site Equipment

- Available network/server rack(s) (enclosed or open)

- Server equipment capable of hosting all required virtual servers and/or applications for your organization

- Storage Area Network (SAN) and/or disk array with sufficient space to store all data backups; must also have enough space to run required servers in the event DR site is activated

- Software to replicate required virtual servers and data to DR equipment

- Network switches/routers to provide 24/7 access to your DR site equipment

- Firewalls and VPN to protect your systems and provide remote access

- All other appliances and hardware required to provide base level network and server functionality for DR site to function (DNS, DHCP, IPAM, etc.)

- Emergency response kit (Wifi Hotspots, cradlepoints, etc.)

# DISASTER RECOVERY PLAN

## Creating your Disaster Recovery Plan

- Establish Roles and Responsibilities, Teams and Subgroups

  - Gather all contact information

  - Create call tree (included in Disaster Recovery Plan Template)

  - Plan and strategize for contingencies, such as critical staff being unavailable

- Establish Call Tree

- Gather Municipal Coordination Contacts

- Obtain GETS card to provide priority to cell phone system in a disaster

- Conduct Budget / Business Impact Analysis

- Create Disaster Recovery Plan

- Upload DR Plan to a cloud based system (i.e., Office365, Google Drive)

- Grant authorized users access to Disaster Recovery Plan and related docs

## Implementing Your Disaster Recovery Plan

- Conduct regular DR site visits (Primary and Secondary locations)

- Test your DR processes and procedures regularly (recommended: quarterly)

- Update your DR Preparedness Checklist (this document) and your DR Plan after each Test to incorporate “lessons learned” and required changes

- Check Inventory Lists after each DR Test to ensure they are up to date

- Verify locations for infrastructure, data and staff

- Ensure you have updated copies of your Disaster Recovery Plan both on-premises as well as in the Cloud

## Additional Support and Help

- Read the Disaster Recovery Guide for Recommendations, Best Practices, etc.

- Contact your local County Office of Education (for districts)

- Regions of Support / TSC Call Trees (for COEs)

- Local emergency agency contact information (Cal Fire, Sheriff department, City or County)

# DISASTER RECOVERY RESOURCES

- Getting Started

- Disaster Recovery Guide

- Disaster Recovery Plan Template

- DR Peering and Co-Location Services

- Sample System Architecture Recovery Document

# CHECKING OFF ITEMS IN THIS GOOGLE DOC

## Checking Off Items

This Checklist should be updated electronically on a regular basis. Be sure your team members have access to all of your disaster recovery documents  in the event of a disaster.

To check off an item in your list, do the following:

- Double click on a checkbox to highlight it

- Next, right-click on the highlighted checkbox and choose the checkmark icon in the pop-up list

- The item is now checked off

- Repeat process to check off additional items