| Maintenance Schedules for UPS and Generator |  |  |  |  |
| --- | --- | --- | --- | --- |
| Originator: | Sender De La Roca |  | Revision Date: | May 13, 2025 |
|  |  |  | Effective Date: | January 04, 2018 |
|  |  |  | Original Date: | January 04, 2018 |
| PURPOSE |  |  |  |  |
| To schedule maintenance for our Generator. UPS and ATS twice a year every year per system. |  |  |  |  |
| PROCEDURES |  |  |  |  |

All maintenance must be done during the Fiscal Calendar. You must have a PO available to call for services and also make sure that all invoices are submitted before June 31st of each year.

Make sure that these maintenances are perform on Saturdays or Holidays.

Mitsubishi and Quinn will mostly reach out to you to schedule the work. This is automated on their system. Once you get the request, make sure that you planned ahead and notify all TIS managers of the event. Lastly send emails to Security Services to allow the vendors to perform their work.

If you don’t hear from them give them a call individually and schedule the maintenance on these months below. See Appendix 1 for phone numbers and contact information.

Follow these dates for schedule maintenance for UPS and Generators:

- Generator

  - August 1st visit

Please authorize the vendor below to perform maintenance on the LACOE generator:

Vendor:                   QUINN Power Systems

Date:                         MMMM DD, YYYY (Saturday)

Time:                         6AM – 12 Noon.

Field Personnel:   Request the name of the tech to perform service

Purpose:                  Generator cooling System PM (about 4-6 hours)

Location:                  Generator enclosure by Annex building

Instructions:           Please escort to and open generator enclosure; vendor will park adjacent to enclosure.

  - Second visit – FEBRUARY:

Please authorize the vendor below to perform maintenance on the LACOE generator:

Vendor:                    QUINN Power Systems

Date:                         MMMM DD, YYYY (Friday) – LACOE Holiday

Time:                         6AM – 8:00 AM.

Field Personnel:      Request the name of the tech to perform service

Purpose:                  Generator Multi-Point Inspection System PM (about 2 hours)

Location:                  Generator enclosure by Annex building

Instructions:           Please escort to and open generator enclosure; vendor will park adjacent to enclosure.

- UPS and ATS

  - July 1st visit

Please authorize entry for the vendor below with the following details:

Vendor:                     Mitsubishi

Tech:                          Request the name of the tech to perform service

Date/Time:               DATE -     9AM - 12Noon

Purpose:                   Annual Maintenance for the UPS system

Destination:             EC-170

Others:                      Please escort him to room EC-170 and open the door for him.

If you have received any notification from our power company of a planned power outage for the EC building on this date, please let us know so we can reschedule this activity.

  - Second Visit January

Please authorize entry for the vendor below with the following details:

Vendor:                     Mitsubishi

Tech:                          Request the name of the tech to perform service

Date/Time:               DATE  -     9AM - 12Noon

Purpose:                   Annual Maintenance for the UPS system

Destination:             EC-170

Others:                      Please escort him to room EC-170 and open the door for him.

If you have received any notification from our power company of a planned power outage for the EC building on this date, please let us know so we can reschedule this activity.

APPENDIX 1

QUINN POWER SYSTEMS

3500 Shepherd Street

City of Industry, CA  90601

562-463-6051

Mitsubishi Electric Power Products, Inc.

547 Keystone Drive

Warrendale, PA 15086

724-779-1694

www.mitsubishicritical.com